2022

Annual

Water Quality

Consumer Confidence Report

Town of Montgomery

PWSID# 5214004

## www.MontgomeryIndiana.net

Montgomery Water Department

P.O. Box 57

Montgomery, IN 47558

Town of Montgomery 		(PWSID# 5214004)

Water Quality

The Town of Montgomery is pleased to share with you, our customers, this 2022 Annual Water Quality Report. It describes the quality of your drinking water and is based on tests performed by Montgomery Water Department personnel and contracted labs.  This updated report covers January 1 through December 31, 2022. The Montgomery Water Department strives to meet or exceed strict drinking water regulations set forth by the Indiana Department of Environmental Management (IDEM) and the U.S. Environmental Protection Agency (EPA), which require all public water systems to prepare and distribute an annual consumer confidence report (CCR).

In 2022, Montgomery Water distributed just under 29,214,000 gallons of water to our customers. Two wells, east of the water plant, provide groundwater to the Town.  Treatment involves aeration, filtration, and disinfection to remove or reduce harmful contaminants that could be present.  Fluoridation is included to promote dental health. In 2022, ongoing disinfection monitoring and specific laboratory analyses helped to ensure water quality. Town Council Members and operating staff are committed to maintaining excellent water quality and reliable service. If you have any questions or would like additional copies of this 2022 CCR, please contact the Town Hall 812-486-3298 or link to it on our newly improved website at:

https://montgomeryindiana.net/documents/2022-water-quality-report/

Wellhead Protection

Montgomery has established a wellhead protection plan to monitor and evaluate potential sources of contamination and provide guidance to mitigate risk and protect vital groundwater sources in the event of a spill. Protection of Montgomery's groundwater source starts with proper selection, design, and placement of wells. Town personnel visually inspect well sites daily to confirm function and security of the wellfield. Effective operation of the filtration plant and consistent water quality analyses help the operator ensure proper treatment and verify disinfection residuals.

YOU TOO CAN HELP PROTECT GROUNDWATER by recycling household hazardous waste (HHW) and

following label instructions when applying herbicides or pesticides. Properly dispose of medicines, paint, batteries, etc.

For more information about your drinking water, or to get involved in wellhead protection, please contact Tim Showalter at 812-444-9454 or by writing to this address: P.O. Box 57, Montgomery, IN 47558. You are welcome and encouraged to attend public meetings on the 1st Monday of each month at the Montgomery Town Hall beginning at 5:30pm.

Town Council Members		Clerk-Treasurer		Water Superintendent
Mike Healy – President 		Cindy Smith		Tim Showalter
Doug Meiring

Kraig Knepp

The U.S. Environmental Protection Agency (EPA) Wants You to Know:

In order to ensure that tap water is safe to drink, EPA prescribes regulations which limit the concentration of certain contaminants in water provided by public water systems. The U.S. Food and Drug Administration regulations establish limits for contaminants in bottled water that must provide the same protection for public health.

Drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants. The presence of contaminants does not necessarily indicate that water poses a health risk. More information about contaminants and potential health effects can be obtained by calling the Environmental Protection Agency's (EPA) Safe Drinking Water Hotline 1-800-426-4791.

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs, and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or human activity.  Contaminants may be found in drinking water that may cause taste, color, or odor problems.  These types of problems are not necessarily cause for health concerns. For more information on taste, odor, or color of drinking water, please contact the Montgomery Water Department.

Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. EPA/Centers for Disease Control (CDC) guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbial contaminants are available by calling the EPA’s Safe Water Drinking Hotline 1-800-426-4791.

2022 Monitoring Results for Montgomery

| Constituent | MCLG Health Goal | MCL EPA’s Limit | AVG Level Detected | Range | Collection Date | Violation | Typical Source |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | Low | High |  |  |  |
| Disinfectants and Disinfection By-Products |
| Chlorine (ppm) | MRDLG = 4 | MRDL = 4 | 1.16 | 0.38 | 2.90 | 2022 | No | Water additive used to control microbes. |
| Haloacetic Acids (HAA5) (ppb) | No goal for the total. | 60 | 16.9 | 12.3 | 21.1 | 2022 | *Yes Missed 2ndQTR Monitoring | By-product of drinking water disinfection. |
| TTHMs [Total Trihalomethanes] (ppb) | No goal for the total. | 80 | 40.5 | 25.3 | 53.9 | 2022 | *Yes Missed 2ndQTR Monitoring | By-product of drinking water disinfection. |
| Inorganic Constituents (IOCs) |
| Arsenic (ppb) | 0 | 10 | 2.9 | 2.9 | 2.9 | 4/20/2020 | No | Erosion of natural deposits; Water additive which promotes strong teeth; Discharge from fertilizer and aluminum factories. |
| Barium (ppm) | 2 | 2 | 0.209 | 0.209 | 0.209 | 4/20/2020 | No | Discharge of drilling wastes; Discharge from metal refineries; Erosion of natural deposits. |
| Fluoride (ppm) | 4.0 | 4.0 | 0.74 | 0.50 | 1.17 | 2022 | No | Erosion of natural deposits; Water additive which promotes strong teeth; Discharge from fertilizer and aluminum factories. |
| Nitrate [measured as Nitrogen] (ppm) | 10 | 10 | 0.833 | 0.833 | 0.833 | 8/8/2022 | No | Runoff from fertilizer use; Leaching from septic tanks, sewage; Erosion of natural deposits. |
| Sodium (ppm) | - | N/A | 46.7 | 46.7 | 46.7 | 4/20/2020 | No | Erosion of natural deposits; leaching. |
| Volatile Organic Compounds |
| Twenty-one (21) separate VOCs were analyzed for compliance in 2020. All were below detection levels (BDLs). |
| Synthetic Organic Compounds |
| Twenty-seven (27) separate SOCs were analyzed for compliance in 2021. All were below detection levels (DBLs). PFAS samples were collected and analyzed in Feb. 2022. No PFAS detected in our groundwater wells or water plant effluent. |
| Radioactive Contaminants |
| Gross Alpha -excluding Radon & Uranium (pCi/L) | 0 | 15 | 2.8 | 2.8 | 2.8 | 4/20/2020 | No | Erosion of natural deposits. |
| Radium-228 (pCi/L) | 0 | 15 | 0.43 | 0.43 | 0.43 | 4/20/2020 | No | Erosion of natural deposits. |
| Lead and Copper | MCLG | Action Level (AL) | 90th Percentile | # Sites over AL | Date Sampled | Violation | Potential Source |
| Lead (ppb) | 0 | 15 | 2.5 | 0 | 08/17/2021 | No | Corrosion of household plumbing systems; Erosion of natural deposits. |
| Copper (ppm) | 1.3 | 1.3 | 0.224 | 0 | 08/17/2021 | No | Erosion of natural deposits; Leaching from wood preservatives; Corrosion of household plumbing systems. |
| Bacteriological Testing (One Coliform Sample per Month is required). |
| Monthly samples collected and measured for Total Coliform and E. Coli were absent of the contaminants in 2022. |

*Violations:  	Type [Monitoring, Routine (DBP), Major]  		Duration [04/01/2022 – 06/30/2022]

- Haloacetic Acids (HAA5) Some people who drink water containing HAA5’s in excess of the MCL over many years may have an increase of cancer.

- Total Trihalomethanes (TTHM) Some people who drink water containing TTHM’s in excess of the MCL over many years may experience problems with their liver, kidneys, or central nervous systems, and may have an increased risk of cancer.

Explanation: We failed to collect/test 2nd Qtr. HAA5 & TTHM samples in 2022.

Corrective Action: Submitted Public Notification. Resumed Quarterly Sampling for HAA5’s & TTHM’s in 3rd Qtr. 2022. Implemented calendar alerts for future samples. Asked contract laboratory to continue early shipment of sample bottles, for reminder of upcoming compliance sampling.

| Unit | Descriptions |
| --- | --- |
| ppm | parts per million, or milligrams per liter (mg/L) |
| ppb | parts per billion, or micrograms per liter (µg/L) |
| N/A | Not Applicable |
| ND | Not Detected |
| Important Drinking Water Definitions |
| MCL | Maximum Contaminant Level: The highest level of a contaminant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible using the best available treatment technology. |
| MCLG | Maximum Contaminant Level Goal: The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety. |
| MRDL | Maximum residual disinfectant level. The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants. |
| MRDLG | Maximum residual disinfection level goal. The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs do not reflect the benefits of the use of disinfectants to control microbial contaminants. |
| AL | Action Level: The concentration of a contaminant which, if exceeded, triggers treatment or other requirements which a water system must follow. |
| ALG | Action Level Goal: The level of a contaminant in drinking water below which there is no known or expected risk to health. ALG’s allow for a margin of safety. |
| TT | Treatment Technique: A required process intended to reduce the level of contaminants in drinking water. |

Contaminants that may be present in source water include:

- Microbial contaminants, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations and wildlife.

- Inorganic contaminants, such as salts and metals, which can be naturally occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

- Pesticides and herbicides, which may come from a variety of sources such as, agriculture, urban stormwater runoff and residential uses.

- Organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production and can also come from gas stations, urban stormwater runoff and septic systems.

- Radioactive contaminants, which can be naturally occurring or be the result of oil and gas production and mining activities.

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from materials and components associated with service lines and home plumbing. Town of Montgomery PWSID#5214004 is responsible for providing high quality drinking water but cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking or cooking. If you are concerned about lead in your water, you may wish to have your water tested. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline at

1-800-426-4791 or at http://www.epa.gov/safewater/lead.

Copper is an essential nutrient, but some people who drink water containing copper in excess of the action level (AL), over a relatively short amount of time, could experience gastrointestinal distress. Some people who consistently drink water with excessive levels of copper above the AL over many years, can suffer liver or kidney damage.